## Dashboard
Value
Boiler Efficiency (%) | ✅ Efficient
Boiler Confidence Level | 80% - 92%
Boiler Combustion Efficiency (%) | 180.6358
COP/EER | 6.3209
Chiller Confidence Level | Good
Estimated Daily Savings ($) | 79.5156
Estimated Monthly Savings ($) | 2385.4667
Estimated Quarterly Savings ($) | 7156.4
33

## Savings_Trend
Month | Total Savings ($)
2025-01-01 | 0
2025-02-01 | 0
2025-03-01 | 7217.7333
2025-04-01 | 0
2025-05-01 | 0
2025-06-01 | 2385.4667
2025-07-01 | 4327.0733
2025-08-01 | 0
2025-09-01 | 1968.0208
2025-10-01 | 0
2025-11-01 | 0
2025-12-01 | 0
Q1 Savings | 7217.7333
Q2 Savings | 2385.4667
Q3 Savings | 6295.0942
Q4 Savings | 0
0

## Boiler_Calc
Input | Value |  | Heat Absorbed (BTU/hr) | Fuel Input (BTU/hr) | Boiler Efficiency (%) | Combustion Efficiency (%) | Confidence Level | NxS Grade
Flow Rate (GPM) | 600 |  | 7500000
H2O Pressure | 160
Outlet Temp (°F) | 315 | 🌡️
Feedwater Temp (°F) | 290 | 🌡️
Gas Usage (CCF) | 400
O₂ (%) | 3.4
CO | 35
Stack Temp (°F) | 320 | 🌡️
Runtime Hours | 24
OAT (°F) | 55 | 🌡️
Firing Rate (%) | 75 |  | 7500000 | 41520000 | 18.0636 | 52.3161 | High
KwH | 2198.1243
CO2 | 38.4
Boiler Horsepower | 224.0698
Expected Output | 80% - 92%
% Capacity Used | 89.6191
Efficiency % | ✅ Efficient
Rated Boiler Capacity (BTU/hr) | 8368750 |  |  | Rated Efficiency Range | 80% - 92% | Thermal Efficiency | 18.0636 | Excellent

## Chiller_Calc
Input | Value | Heat Removed (BTU/hr) | Power Input (BTU/hr) | Ratio | Confidence Level | NxS Grade
Chilled Pump Recommeded (GPM) | 120 | <- Located on Nameplate
Leaving Chilled Water Temp (F) | 48
Entering Chilled Water Temp (F) | 52
Compressor Power Input (kW) | 89
Heat Removed (kW) | 562.56 | 1920000
Power Input (BTU/hr) | 562.7198 |  | 303668
Chiller Efficiency (%) | 6.3209 |  | Chiller Efficiency --> | 6.3209
Chiller Rated Tons | 485
Chiller Rated BTU/hr | 5820000
% Capacity Used --> | 32.9897
Estimated Gals Used -> | 960 | 8 | <- Run Time | Confidence Level --> | Good
From Recent Start Up, Trips Included
Condenser Pump Recommended (GPM) | 200 | <- Located on Nameplate
Leaving Condenser Water Temp (F) | 89
Entering Condenser Water Temp (F) | 74
Power Input (Kw) | 50
Condenser Pump Power (kW) | 3.0913 |  | Condenser Efficiency --> | 210.96
Heat Rejected (kW) | 10548 | 36000000
Estimated Gals Used -> | 4800 | 24 | <- Run Time
From Recent Start Up, Trips Included
Cooling Tower Flow Rate (GPM) | 420
Leaving Cooling Tower Water Temp (F) | 74
Entering Cooling Tower Water Temp (F) | 89
Heat Rejected (kW) | 162.615 | 555000
Power Input (kW) | 15
Power Input (BTU/hr) | 51210 |  | 51180
Tower Efficiency (%) | 1084.1 |  | Performance Ratio --> | 1084.408
Confidence Level |  |  |  | Confidence Level --> | Excellent
Total Heat Removed | 11273.175
Total Power Input | 154
System Efficiency (%) | 7320.2435

## Savings_Calc
Resource | Daily Usage | Rate per Unit | Daily Cost | Monthly Cost | State | County
Water | 3000 | 5.25 | 15750 | 472500 | TX | Harris
Gas | 500 | 1.09 | 545 | 16350 | NJ | Morris
Electricity | 7 | 0.178 | 1.246 | 37.38 | NY | Kings
BGSS |  | 0.84 | 0 | 0 | TX | Travis
Estimate |  |  | 16296.246 | 488887.38

## Reference_Rates
State | County | BGSS ($/therm) | Therm Cost ($/therm) | Water Cost ($/1,000 gal) | Electric Rate ($/kWh) | Fuel Oil ($/gal) | Propane ($/gal) | Last Updated | Source / Utility
NJ | Essex | 0.98 | 1.2 | 8.1 | 0.162 | 3.75 | 2.91 | Oct-2025 | PSE&G
NJ | Morris | 0.95 | 1.18 | 7.85 | 0.155 | 3.68 | 2.85 | Oct-2025 | JCP&L
NY | Kings | 1.15 | 1.4 | 9.5 | 0.178 | 4.1 | 3.12 | Oct-2025 | Con Edison
NY | Nassau | 1.08 | 1.33 | 8.85 | 0.165 | 4.02 | 3.08 | Oct-2025 | PSEG Long Island
TX | Travis | 0.84 | 1.05 | 4.9 | 0.122 | 3.25 | 2.6 | Oct-2025 | TXU Energy
TX | Harris | 0.88 | 1.07 | 5.25 | 0.125 | 3.32 | 2.64 | Oct-2025 | CenterPoint Energy
VA | Fairfax | 0.91 | 1.1 | 6.1 | 0.139 | 3.5 | 2.76 | Oct-2025 | Dominion Energy
VA | Richmond | 0.92 | 1.13 | 5.95 | 0.135 | 3.52 | 2.78 | Oct-2025 | VA Natural Gas
PA | Allegheny | 0.97 | 1.18 | 7.6 | 0.144 | 3.62 | 2.82 | Oct-2025 | Duquesne Light
PA | Philadelphia | 1.02 | 1.26 | 8.45 | 0.155 | 3.71 | 2.89 | Oct-2025 | PECO
GA | Fulton | 0.88 | 1.09 | 5.7 | 0.136 | 3.28 | 2.65 | Oct-2025 | Georgia Power
GA | Cobb | 0.86 | 1.08 | 5.55 | 0.133 | 3.26 | 2.63 | Oct-2025 | Cobb EMC
NC | Mecklenburg | 0.89 | 1.12 | 6.2 | 0.137 | 3.3 | 2.67 | Oct-2025 | Duke Energy
NC | Wake | 0.87 | 1.1 | 5.95 | 0.134 | 3.28 | 2.65 | Oct-2025 | Duke Energy

## Raw_Energy_Logs
A (Date) | Operator | Shift | Time Checks Reference | Inspection Status | ICON | Time Checked | B (Shift Time) | C (Water Usage G) | D (Gas Usage CCF) | E (Electricity kWh)
2025-07-01 | John Smith | 0.29167 | 8:30 | Satisfactory | ⚠️ Flag | 8:00 | 7:00 | 363 | 450 | 34
2025-07-01 |  |  |  |  | ✅On-Time |  | 11:00 | 410 | 650 | 40
2025-07-02 |  |  |  |  | ✅On-Time |  | 3:00 | 400 | 365 | 37
2025-07-03 |  |  |  |  | ✅On-Time |  | 7:00 | 390 | 300 | 35
2025-03-15 |  |  |  |  | ✅On-Time |  | 5:00 | 450 | 1000 | 75
2025-03-17 |  |  |  |  | ✅On-Time |  | 4:00 | 1000 | 1300 | 80
2025-03-17 |  |  |  |  | ✅On-Time |  | 7:00 | 750 | 750 | 80
2025-06-20 |  |  |  |  | ✅On-Time |  | 8:00 | 250 | 800 | 95
2025-09-22 |  |  |  |  | ✅On-Time |  | 7:00 | 200 | 1000 | 50
✅On-Time

## Boiler_Reference (hidden)
Boiler Horsepower (BHP) | Output BTU/hr | Evaporation (GPM) | Typical Efficiency Range (%) | Estimated Fuel Input Min (BTU/hr) | Estimated Fuel Input Max (BTU/hr) | Fuel Value in Therms
50 | 1673750 | 3.45 | 80% - 92% | 1323750 | 1523750 | 15.2405
100 | 3347500 | 6.9 | 80% - 92% | 2997500 | 3197500 | 31.9814
150 | 5021250 | 10.35 | 80% - 92% | 4671250 | 4871250 | 48.7222
200 | 6695000 | 13.8 | 80% - 92% | 6345000 | 6545000 | 65.4631
250 | 8368750 | 17.25 | 80% - 92% | 8018750 | 8218750 | 82.2039
260 | 8703500 | 17.94 | 80% - 92% | 8353500 | 8553500 | 85.5521
300 | 10042500 | 20.7 | 80% - 92% | 9692500 | 9892500 | 98.9448
350 | 11716250 | 24.15 | 80% - 92% | 11366250 | 11566250 | 115.6856
400 | 13390000 | 27.6 | 80% - 92% | 13040000 | 13240000 | 132.4265
450 | 15063750 | 31.05 | 80% - 92% | 14713750 | 14913750 | 149.1673
500 | 16737500 | 34.5 | 80% - 92% | 16387500 | 16587500 | 165.9082
550 | 18411250 | 37.95 | 80% - 92% | 18061250 | 18261250 | 182.649
600 | 20085000 | 41.4 | 80% - 92% | 19735000 | 19935000 | 199.3899
650 | 21758750 | 44.85 | 80% - 92% | 21408750 | 21608750 | 216.1307
700 | 23432500 | 48.3 | 80% - 92% | 23082500 | 23282500 | 232.8716
750 | 25106250 | 51.75 | 80% - 92% | 24756250 | 24956250 | 249.6124
800 | 26780000 | 55.2 | 80% - 92% | 26430000 | 26630000 | 266.3533
850 | 28453750 | 58.65 | 80% - 92% | 28103750 | 28303750 | 283.0941
900 | 30127500 | 62.1 | 80% - 92% | 29777500 | 29977500 | 299.835
950 | 31801250 | 65.55 | 80% - 92% | 31451250 | 31651250 | 316.5758
1000 | 33475000 | 69 | 80% - 92% | 33125000 | 33325000 | 333.3167
1250 | 41843750 | 86.25 | 80% - 92% | 41493750 | 41693750 | 417.0209
1500 | 50212500 | 103.5 | 80% - 92% | 49862500 | 50062500 | 500.7251
1750 | 58581250 | 120.75 | 80% - 92% | 58231250 | 58431250 | 584.4294
2000 | 66950000 | 138 | 80% - 92% | 66600000 | 66800000 | 668.1336

## Boiler_Gas_Usage_Per_BHP (hidden)
Boiler Horsepower (BHP) | Output BTU/hr | Fuel Input BTU/hr (Min - 92% eff) | Fuel Input BTU/hr (Max - 80% eff) | Gas Usage Therms/hr (Min) | Gas Usage Therms/hr (Max) | Gas Usage CCF/hr (Min) | Gas Usage CCF/hr (Max)
100 | 3347500 | 3638586 | 4184375 | 36.39 | 41.84 | 35.67 | 41.02
150 | 5021250 | 5457880 | 6276562 | 54.58 | 62.77 | 53.51 | 61.53
200 | 6695000 | 7277173 | 8368750 | 72.77 | 83.69 | 71.34 | 82.05
250 | 8368750 | 9096467 | 10460937 | 90.96 | 104.61 | 89.18 | 102.56
300 | 10042500 | 10915760 | 12553125 | 109.16 | 125.53 | 107.02 | 123.07
350 | 11716250 | 12735054 | 14645312 | 127.35 | 146.45 | 124.85 | 143.58
400 | 13390000 | 14554347 | 16737500 | 145.54 | 167.38 | 142.69 | 164.09
450 | 15063750 | 16373641 | 18829687 | 163.74 | 188.3 | 160.53 | 184.6
500 | 16737500 | 18192934 | 20921875 | 181.93 | 209.22 | 178.36 | 205.12
550 | 18411250 | 20012228 | 23014062 | 200.12 | 230.14 | 196.2 | 225.63
600 | 20085000 | 21831521 | 25106250 | 218.32 | 251.06 | 214.03 | 246.14
650 | 21758750 | 23650815 | 27198437 | 236.51 | 271.98 | 231.87 | 266.65
700 | 23432500 | 25470108 | 29290625 | 254.7 | 292.91 | 249.71 | 287.16
750 | 25106250 | 27289402 | 31382812 | 272.89 | 313.83 | 267.54 | 307.67
800 | 26780000 | 29108695 | 33475000 | 291.09 | 334.75 | 285.38 | 328.19
850 | 28453750 | 30927989 | 35567187 | 309.28 | 355.67 | 303.22 | 348.7
900 | 30127500 | 32747282 | 37659375 | 327.47 | 376.59 | 321.05 | 369.21
950 | 31801250 | 34566576 | 39751562 | 345.67 | 397.52 | 338.89 | 389.72
1000 | 33475000 | 36385869 | 41843750 | 363.86 | 418.44 | 356.72 | 410.23
1050 | 35148750 | 38205163 | 43935937 | 382.05 | 439.36 | 374.56 | 430.74
1100 | 36822500 | 40024456 | 46028125 | 400.24 | 460.28 | 392.4 | 451.26
1150 | 38496250 | 41843750 | 48120312 | 418.44 | 481.2 | 410.23 | 471.77
1200 | 40170000 | 43663043 | 50212500 | 436.63 | 502.12 | 428.07 | 492.28
1250 | 41843750 | 45482336 | 52304687 | 454.82 | 523.05 | 445.91 | 512.79
1300 | 43517500 | 47301630 | 54396875 | 473.02 | 543.97 | 463.74 | 533.3
1350 | 45191250 | 49120923 | 56489062 | 491.21 | 564.89 | 481.58 | 553.81
1400 | 46865000 | 50940217 | 58581250 | 509.4 | 585.81 | 499.41 | 574.33
1450 | 48538750 | 52759510 | 60673437 | 527.6 | 606.73 | 517.25 | 594.84
1500 | 50212500 | 54578804 | 62765625 | 545.79 | 627.66 | 535.09 | 615.35
1550 | 51886250 | 56398097 | 64857812 | 563.98 | 648.58 | 552.92 | 635.86
1600 | 53560000 | 58217391 | 66950000 | 582.17 | 669.5 | 570.76 | 656.37
1650 | 55233750 | 60036684 | 69042187 | 600.37 | 690.42 | 588.59 | 676.88
1700 | 56907500 | 61855978 | 71134375 | 618.56 | 711.34 | 606.43 | 697.4
1750 | 58581250 | 63675271 | 73226562 | 636.75 | 732.27 | 624.27 | 717.91
1800 | 60255000 | 65494565 | 75318750 | 654.95 | 753.19 | 642.1 | 738.42
1850 | 61928750 | 67313858 | 77410937 | 673.14 | 774.11 | 659.94 | 758.93
1900 | 63602500 | 69133152 | 79503125 | 691.33 | 795.03 | 677.78 | 779.44
1950 | 65276250 | 70952445 | 81595312 | 709.52 | 815.95 | 695.61 | 799.95
2000 | 66950000 | 72771739 | 83687500 | 727.72 | 836.88 | 713.45 | 820.47

## Chiller_Reference (hidden)
Chiller Tons | BTU/hr Capacity | kW/ton Range | Typical Power Input Min (kW) | Typical Power Input Max (kW) | Efficiency Grade
50 | 600000 | 0.55 - 1.2 | 27.5 | 60 | Fair
100 | 1200000 | 0.55 - 1.2 | 55 | 120 | Fair
150 | 1800000 | 0.55 - 1.2 | 82.5 | 180 | Fair
200 | 2400000 | 0.55 - 1.2 | 110 | 240 | Fair
250 | 3000000 | 0.55 - 1.2 | 137.5 | 300 | Fair
300 | 3600000 | 0.55 - 1.2 | 165 | 360 | Fair
350 | 4200000 | 0.55 - 1.2 | 192.5 | 420 | Fair
400 | 4800000 | 0.55 - 1.2 | 220 | 480 | Fair
450 | 5400000 | 0.55 - 1.2 | 247.5 | 540 | Fair
500 | 6000000 | 0.55 - 1.2 | 275 | 600 | Fair
550 | 6600000 | 0.55 - 1.2 | 302.5 | 660 | Fair
600 | 7200000 | 0.55 - 1.2 | 330 | 720 | Fair
650 | 7800000 | 0.55 - 1.2 | 357.5 | 780 | Fair
700 | 8400000 | 0.55 - 1.2 | 385 | 840 | Fair
750 | 9000000 | 0.55 - 1.2 | 412.5 | 900 | Fair
800 | 9600000 | 0.55 - 1.2 | 440 | 960 | Fair
850 | 10200000 | 0.55 - 1.2 | 467.5 | 1020 | Fair
900 | 10800000 | 0.55 - 1.2 | 495 | 1080 | Fair
950 | 11400000 | 0.55 - 1.2 | 522.5 | 1140 | Fair
1000 | 12000000 | 0.55 - 1.2 | 550 | 1200 | Fair
1050 | 12600000 | 0.55 - 1.2 | 577.5 | 1260 | Fair

## Resource_Savings
A | B (Water Savings) | C (Gas Savings) | D (Electricity Savings) | E (Baseline Water $) | F (Baseline Gas $) | G (Baseline Electric $) | H (% Water Savings) | I (% Gas Savings) | J (% Electric Savings) | Savings Trend
Jan | 0 | 0 | 0 |  |  |  | 0% | 0% | 0%
Feb | 0 | 0 | 0 |  |  |  | 0% | 0% | 0%
Mar | 2.3333 | 3751.5 | 3463.9 | 4.5 | 400 | 70000 | 51.85% | 937.9% | 4.948%
Apr | 0 | 0 | 0 |  |  |  | 0% | 0% | 0%
May | 0 | 0 | 0 |  |  |  | 0% | 0% | 0%
Jun | 1.1667 | 984 | 1400.3 |  |  |  | 0% | 0% | 0%
Jul | 4.0833 | 2170.95 | 2152.04 |  |  |  | 0% | 0% | 0%
Aug | 0 | 0 | 0 |  |  |  | 0% | 0% | 0%
Sep | 1.0208 | 1230 | 737 |  |  |  | 0% | 0% | 0%
Oct | 0 | 0 | 0 |  |  |  | 0% | 0% | 0%
Nov | 0 | 0 | 0 |  |  |  | 0% | 0% | 0%
Dec | 0 | 0 | 0 |  |  |  | 0% | 0% | 0%
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec

## Reference_Rates (1)
State | County | BGSS ($/therm) | Gas ($/therm) | Water ($/1k gal) | Electricity ($/kWh) | Fuel Oil ($/gal) | Propane ($/gal)
NJ | Essex | 0.98 | 1.12 | 6.24 | 0.19 | 3.45 | 2.5
NJ | Morris | 0.92 | 1.09 | 5.95 | 0.18 | 3.4 | 2.45
PA | Nassau | 0.85 | 1.01 | 4.9 | 0.16 | 3.3 | 2.35
TX | Travis | 0.77 | 0.89 | 4.25 | 0.15 | 3.1 | 2.2
VA | Fairfax | 0.88 | 1.05 | 5.1 | 0.17 | 3.25 | 2.28
NY | Queens | 1.02 | 1.15 | 6.4 | 0.21 | 3.55 | 2.55
GA | Fulton | 0.84 | 0.97 | 4.75 | 0.14 | 3 | 2.1
NC | Wake | 0.82 | 0.95 | 4.6 | 0.13 | 2.95 | 2.05