## Boiler_Performance_Logs
Date | OAT | Boiler Name | Fuel Type | Supply Temp (°F) | Return Temp (°F) | ΔT (°F) | Load (%) | Water Level | Steam Pressure/H20 (PSIG) | Run Time (hrs/day) | Daily Water GPM | Rated GPM | BHP | Rate | Daily Water Cost | BTU/Hr | Steam Load (lbs/hr) | Daily Fuel Cost | Annual Fuel Cost | Emissions Rate (lb/MMBtu) | Daily BTU Usage | Annual Emissions (tons) | Compliance Risk | Efficiency | Efficicency Rated
2024-01-01 | 72 | Superior | Natural Gas | 315 | 295 | 20 | 82 | 0% | 140 | 20 | 6000 | 300 | 87026.087 | 1.85 | 10500 | 60000000 | 3002400 | 26640 | 9723600 | 117.1 | 1440000000 | 30773.88 | High 🚩 | 4.1667
2024-02-02 | 78 | Brian Tube | Oil #2 | 310 | 289 | 21 | 88 | 0% | 110 | 8 | 3680 | 460 | 53376 | 2.65 | 6440 | 38640000 | 1841472 | 24575.04 | 8969889.6 |  | 927360000 | 0 | Moderate | 4.1667
2024-03-03 | 67 | Superior | Natural Gas | 295 | 273 | 22 | 83 | 0% | 112 | 8 | 3000 | 375 | 43513.0435 | 1.85 | 5250 | 33000000 | 1501200 | 14652 | 5347980 | 117.1 | 792000000 | 16925.634 | High 🚩 | 4.1667
2024-04-04 | 75 | Aerco | Natural Gas | 305 | 293 | 12 | 88 | 0% | 120 | 12 | 4680 | 390 | 67880.3478 | 1.85 | 8190 | 28080000 | 2341872 | 12467.52 | 4550644.8 | 117.1 | 673920000 | 14402.1758 | High 🚩 | 4.1667
2024-05-05 | 76 | Fisher | Oil #6 | 320 | 300 | 20 | 90 | 0% | 118 | 24 | 9600 | 400 | 139241.7391 | 3.05 | 16800 | 96000000 | 4803840 | 70272 | 25649280 | 173.9 | 2304000000 | 73121.472 | High 🚩 | 4.1667
2024-06-06 | 82 | Bosch | Oil #4 | 325 | 305 | 20 | 91 | 0% | 115 | 24 | 12480 | 520 | 181014.2609 | 3 | 21840 | 124800000 | 6244992 | 89856 | 32797440 | 166 | 2995200000 | 90739.584 | High 🚩 | 4.1667
2024-06-07 | 85 | Bosch |  | 290 | 270 | 20 | 79 | 0% | 110 | 16 | 5600 | 350 | 81224.3478 | 💲 | 9800 | 56000000 | 2802240 | #VALUE! | #VALUE! |  | 1344000000 | 0 | Moderate | 4.1667
2025-06-08 | 78 | Aerco |  |  |  | 0 |  | 0% |  |  | 0 |  | 0 | 💲 | 0 | 0 | 0 | 0 | 0
2025-06-09 | 68 | Bosch | [5 empty] | 0% |  |  | 0 |  | 0 | 💲 | 0
2025-06-10 | 74 | Superior | [5 empty] | 0% |  |  | 0 |  | 0 | 💲 | 0
2025-06-11 | 78 | [9 empty] | 0 |  |  | 💲 | 0

## Chiller_Performance_Logs
Date | Chiller Name | Refrigerant Type | Refrigerant Heat Content | Evaporator Supply Temp (°F) | Evaporator Return Temp (°F) | Evaporator ΔT (°F) | Chilled Water PSI | Condenser Water Supply Temp (°F) | Condenser Water Return Temp (°F) | Condenser Water ΔT (°F) | Condenser Water PSI | Approaching Temp | Oil Temp (°F) | Oil Pressure (PSI) | Run Time (hrs/day) | Tonnage | Heat Load | Load (%) | Chilled Water GPM | Compressor kW | Compressor Load (%) | Energy Usage (kWh/day) | Cooling Load (Tons) | Estimated COP | Estimated Daily Cost ($) | Electric Rate ($/kWh) | Efficiceny | Efficiency Rated
2025-01-01 | York | R-410A | 0.25 | 44 | 54 | 10 | 40 | 85 | 80 | -5 | 0 | -41 | 110 | 50 | 12 | 250 | 13125000 | 100 | 600 | 30 | 3% | 360 | 1093.75 | 128.2239 | 43.2 | 0.12 |  | 6
2025-01-02 | Carrier | R-410A | 0.25 | 48 | 53 | 5 | 40 | 80 | 75 | -5 | 0 | -32 | 115 | 50 | 16 | 162.5 | 1950000 | 133.3333 | 780 | 75 | 7.5% | 1200 | 162.5 | 7.6202 | 144 | 0.12 |  | 5
2025-01-03 | Daiki |  | #N/A | 50 | 57 | 7 | 45 | 72 | 85 | 13 | 0 | -22 | 105 | 55 | 24 | 172.0833 | 2065000 | 200 | 590 | 45 | 4.5% | 1080 | 172.0833 | 13.4493 | 129.6 | 0.12 |  | 5.5
2025-01-04 | York |  | #N/A | 25 | 20 | -5 | 60 | 65 | 109 | 44 | 0 | -40 | 110 | 60 | 12 | -139.5833 | -1675000 | 100 | 670 | 32 | 3.2% | 384 | -139.5833 | -15.3411 | 46.08 | 0.12 |  | 6
2025-01-05 | [9 empty] | 0 | 0 | 0 | [8 empty] | 0% | 0 | 0
2025-01-06 | [9 empty] | 0 | 0 | 0 | [8 empty] | 0%
2025-01-07 | [9 empty] | 0 | 0 | 0 | [8 empty] | 0%
2025-01-08 | [9 empty] | 0 | 0 | 0 | [8 empty] | 0%
[10 empty] | 0 | 0 | 0 | [8 empty] | 0%
[10 empty] | 0 | 0 | 0 | [8 empty] | 0%
[10 empty] | 0 |  | 0 | [8 empty] | 0%
[10 empty] | 0 |  | 0

## Utility_Billing_Reference
Utility Type | Billing Unit | Conversion Basis | Rate ($) | Cost Formula
Natural Gas | Therms | 100,000 BTU/therm | 1.85 | #VALUE!
Oil #2 | Gallons | 130,000 BTU/gal | 2.65 | #VALUE!
Oil #4 | Gallons | 145,000 BTU/gal | 3 | #VALUE!
Oil #6 | Gallons | 150,000 BTU/gal | 3.05 | #VALUE!
Electricity | kWh | 3,412 BTU/kWh | 0.14 | #VALUE!
Water | 1,000 gal | – | 1.75 | #VALUE!
Steam | Mlbs | 970,000 BTU/Mlb | 12 | #VALUE!
Chilled Water | Ton-hr | 12,000 BTU/hr | 0.1 | #VALUE!
HTHW | MMBTU | From GPM & ΔT | 7.5 | #VALUE!
Glycol | MMBTU | 0.9 correction factor | 8 | #VALUE!

## Refrigerant_Reference
Refrigerant | Flammable | Toxic | Heat Transfer Rate (BTU/lb°F) | Relative Efficiency | GWP (Global Warming Potential) | ODP (Ozone Depletion Potential) | Best Use Case | Typical Evap/Cond Temps (°F)
R-22 | No | Low | 0.24 | Medium | 1810 | 0.05 | Older residential/commercial A/C | Evap: 40 / Cond: 120
R-134a | No | Low | 0.22 | Medium | 1430 | 0 | Auto A/C, medium-temp chillers | Evap: 35 / Cond: 110
R-410A | No | Low | 0.25 | High | 2088 | 0 | Modern split systems, VRF | Evap: 45 / Cond: 120
R-32 | Mild | Low | 0.26 | Very High | 675 | 0 | High-efficiency A/C, VRF | Evap: 45 / Cond: 115
R-290 (Propane) | Yes | Low | 0.26 | Very High | 3 | 0 | Small charge systems, chillers | Evap: 25 / Cond: 105
R-600a (Isobutane) | Yes | Low | 0.27 | High | 3 | 0 | Domestic refrigerators | Evap: 20 / Cond: 100
R-717 (Ammonia) | No | Yes | 0.28 | Very High | 0 | 0 | Industrial refrigeration, process chillers | Evap: 0 / Cond: 100
R-1234yf | Mild | Low | 0.22 | Medium | 1 | 0 | Automotive, retrofit R-134a | Evap: 35 / Cond: 110
R-744 (CO₂) | No | Low | 0.2 | High (transcritical) | 1 | 0 | Supermarket systems, heat pumps | Evap: 25 / Cond: 90–150
R-507A | No | Low | 0.23 | Medium | 3985 | 0 | Commercial refrigeration | Evap: -20 / Cond: 100